## Sheet2
Date | 2016-07-04
Subject | Bill of Materials
Project | Public Infrastructure - ( Bldg. 1-2, 2-4, 4-6 and Bldg. 3-Computer Lab)
Typhoon Maysak Reconstruction Project (TMRP)
Nos. | Description | Qty. | Unit | Remarks
1 | # 10 THW, THHN Copper wire, Black (500 Ft./ box) | 1 | box
2 | # 10 THW, THHN Copper wire, Green (500 Ft./ box) | 1 | box
3 | # 10 THW, THHN Copper wire, White (500 Ft./ box) | 1 | box
4 | # 8 THW, THHN Copper wire, Black (500 Ft./ box) | 4 | box
5 | # 8 THW, THHN Copper wire, Green (500 Ft./ box) | 4 | box
6 | # 8 THW, THHN Copper wire, White (500 Ft./ box) | 4 | box
7 | #12 Stranded wire THHN Blue (500 Ft./ box) | 25 | box
8 | #12 Stranded wire THHN Green (500 Ft./ box) | 25 | box
9 | #12 Stranded wire THHN Red (500 Ft./ box) | 25 | box
10 | 1 1/2" diameter Galvanized Rigid Conduit 20ft. | 3 | pc
11 | 1 1/2" Hardiflex Nails Galvanized (100 pcs/pack) | 248 | packs
12 | 1" Hardiflex Nails Galvanized (100 pcs/pack) | 7 | packs
13 | 1/2 Ø x 10" Machine Bolts SS or hot dip galvanized with 3"thread with nuts and bolts | 750 | pcs |  | Bldg. 3
14 | 1/2" diameter x 20', painted or pvc coated deformed reinforcing bars grade 40 or 60 | 1959 | pcs
15 | 1/2" Diameter Ball Valve PVC SCH 40, 110 Psi or Higher | 8 | pcs
16 | 1/2 dia. x 6" Machine Bolts SS or Hot Dip Galvanized bolts w/ 3" thread with nuts and washers | 1000 | pcs
17 | 1/2 x 8" Machine Bolts SS or Hot Dip Galvanized bolts w/ 3" thread with nuts and washers | 5279 | pcs
18 | 1/4" thk. 4'x8' Hardiflex Cement Board | 572 | pcs
19 | 1/4 x 1" x 20' Hot Dip Galvanized flat bar with slotted 1/4" dia hole for J-bolt | 222 | pcs
20 | 15/32 x 4' x 8' CAC Treated Plywood | 466 | pcs
21 | 2" PVC SCH 40/80 Gray Pipe | 8 | pcs
22 | 2" PVC SCH 40/80 Gray Pipe 45deg Elbow | 4 | pcs
23 | 2" PVC SCH 40/80 Gray Pipe 90deg Elbow | 4 | pcs |  | Bldg. 3
24 | 2" PVC SCH 40/80 Gray Pipe Coupling | 8 | pcs |  |  | Gutter and flatbar connector
25 | 2" PVC SCH 40/80 Gray Pipe Tee | 4 | pcs
26 | 2"x 2" x 12' CAC or Equivalent Pressure Treated Lumber | 78 | pcs
27 | 2"x3"x12' CAC or Equivalent Pressure Treated Lumber | 98 | pcs
28 | 2" x 4" x 12' CAC or equivalent Pressure Treated Lumber | 4231 | pcs
29 | 2" x 4" x 14' CAC or equivalent Pressure Treated Lumber | 830 | pcs
30 | 2" x 6" x 10' CAC or equivalent Pressure Treated Lumber | 120 | pcs
31 | 2" x 6" x 12' CAC or equivalent Pressure Treated Lumber | 116 | pcs
32 | 2" x 6" x 14' CAC or equivalent Pressure Treated Lumber | 180 | pcs
33 | 2" x 6" x 14' KD Lumber (for Door Frame/ Window Frame) CAC or Equivalent Pressure Treated Lumber | 40 | pcs
34 | 2" x 6" x 16' CAC or equivalent Pressure Treated Lumber | 182 | pcs
35 | 2" x 6" x 18' CAC or equivalent Pressure Treated Lumber | 280 | pcs
36 | 2" x 6" x 20' CAC or equivalent Pressure Treated Lumber | 58 | pcs
37 | 2" x 8" x 18' CAC or equivalent Kiln Dried Treated Lumber | 274 | pcs |  | Bldg. 1-2
38 | 3" Dia 45 deg elbow PVC white sch 40/80 | 16 | pcs
39 | 3" Dia 90 deg elbow PVC white sch 40/80 | 16 | pcs
40 | 3" Dia coupling PVC white sch 40/80 | 16 | pcs
41 | 3" Dia PVC white sch 40/80 | 16 | pcs
42 | 3" PVC SCH 40 Gray S-trap or P-trap for Floor Drain | 8 | pcs
43 | 3" PVC SCH 40/80 Gray Pipe | 84 | pcs
44 | 3" PVC SCH 40/80 Gray Pipe 3"x2" Wye | 4 | pcs
45 | 3" PVC SCH 40/80 Gray Pipe 45deg Elbow | 106 | pcs
46 | 3" PVC SCH 40/80 Gray Pipe 90deg Elbow | 96 | pcs
47 | 3" PVC SCH 40/80 Gray Pipe Coupling | 106 | pcs
48 | 3" PVC SCH 40/80 Gray Pipe Tee | 34 | pcs
49 | 3"x3"X1/4" thk. Angular plate purlins steel cleats x 20ft | 142 | pcs
50 | 3/4" x 4' x 8' CAC Treated Marine Plywood | 132 | pcs
51 | 3/8" diameter x 20', painted or pvc coated deformed reinforcing bars grade 40 or 60 | 4946 | pcs
52 | 36" x 80 in CAC Treated Wooden Panel Door | 4 | pcs
53 | 4" PVC SCH 40/80 Gray Pipe | 4 | pcs |  | Bldg. 1-2
54 | 4" PVC SCH 40/80 Gray Pipe 4"x2" Tee | 4 | pcs
55 | 4" PVC SCH 40/80 Gray Pipe 4"x2" Wye | 4 | pcs
56 | 4" PVC SCH 40/80 Gray Pipe 4"x3" Tee | 8 | pcs
57 | 4" PVC SCH 40/80 Gray Pipe 4"x3" Wye | 8 | pcs
58 | 4" PVC SCH 40/80 Gray Pipe 45deg Elbow | 6 | pcs
59 | 4" PVC SCH 40/80 Gray Pipe 90deg Elbow | 6 | pcs
60 | 4" PVC SCH 40/80 Gray Pipe Clean Out | 2 | pcs
61 | 4" PVC SCH 40/80 Gray Pipe Coupling | 6 | pcs
62 | 4" PVC SCH 40/80 Gray Pipe Tee | 6 | pcs
63 | 4" thk. CHB Load Bearing 400-600 psi | 4900 | pcs
64 | 4"x 3" Stainlees Steel LP Hinge | 204 | pcs
65 | 4'x8' Formica Laminated White | 60 | pcs
66 | 8' Copper Ground Rod, 5/8" dia. | 6 | pcs
67 | 5/8" diameter x 20', painted or pvc coated deformed reinforcing bars grade 40 or 60 | 1656 | pcs
68 | 6" thk. CHB Load Bearing 400-600 psi | 6820 | pcs
69 | Acrytex Exterior Wall Latex Paint Light Blue | 152 | gals
70 | Angle Valve Double 1/2" Stainless Steel or PVC | 2 | pcs
71 | Armstrong 12in x 12in Peel and Stick Vinyl Tile (30 sq ft Case)(30 pcs./case) | 441 | case
72 | Galvanized Concrete Nails 4" | 50 | lbs
73 | Galvanized Concrete Nails 3" | 190 | lbs
74 | Galvanized Concrete Nails 2" | 50 | lbs
75 | Galvanized Concrete Nails 1" | 50 | lbs
76 | Blind rivets 1/8x1/2 stainless steel (120 pcs pack) | 16 | packs
77 | Bulb receptacle 2" 0r 4" pvc or prcelain | 72 | pcs
78 | Ceramic Tiles 1'x1' Floor Tiles | 320 | pcs
79 | Ceramic Tiles 1'x1' Wall Tiles | 340 | pcs
80 | Circuit Breaker,125 Amps, 2 Pole | 1 | ea
81 | Circuit Breaker,60 Amps, 2 Pole | 2 | ea
82 | Circuit Breaker,80 Amps, 2 Pole | 5 | ea
83 | Concrete Neutralizer | 68 | gals
84 | Convenience Outlet Plate and Cover 3 gang | 98 | sets
85 | Flexible PVC Conduit Orange Sched 20 1" dia 100m Roll | 24 | rolls
86 | Flexible Supply Pipe 1/2" Stainless Steel for Lavatory | 2 | pcs
87 | Flexible Supply Pipe 1/2" Stainless Steel for Water Closet | 6 | pcs
88 | Floor Drain Metma Stainless Steel 4"x4" with water strainer | 30 | pcs
89 | Gauge 16 tie wire/10 lbs Galvanized | 316 | rolls
90 | Grip-Rite #11 x 2 in. 16-Penny Bright Steel Smooth Shank Common Nails (5 lb.-Pack) Galvanized | 6 | pack
91 | Grip-Rite #13 x 2 in. 6 Penny Bright Steel Smooth Shank Common Nails (5 lb.-Pack) Galvanized | 13 | packs
92 | Grip-Rite #14 x 1 in. 6 Penny Bright Steel Smooth Shank Common Nails (5 lb.-Pack) Galvanized | 60 | packs
93 | Grip-Rite #6 x 4 in. 20-Penny Bright Steel Smooth Shank Common Nails (30 lb.-Pack) Galvanized | 205 | packs
94 | Grip-Rite #8 x 3 in. 16 Penny Bright Steel Smooth Shank Common Nails (5 lb.-Pack) Galvanized | 125 | packs
95 | Grip-Rite Umbrella Roof Nails Hot Dip Galvanized 3" Twisted Rainshank | 365 | lbs
96 | HILTI 1/2 in. x 4 in. Kwik Bolt 1 Long Thread Galvanized Expansion Anchors | 270 | pcs
97 | Hot Dip Galvanized 6-8 mm dia threaded at straight end /as per roofing manufacturers recommendation Roofing J Bolt with nut / washer | 1750 | pcs
98 | Insulation 3/4"x4'x8' for Walls | 175 | pcs
99 | Joint Sealer for Ceiling and Partition Wall | 31 | gals |  | Bldg. 2-4
100 | Junction Box 4"x4" PVC | 184 | pcs
101 | Lavatory Porcelain Complete sets with brackets and faucet | 2 | sets
102 | LED 32 Watts or Higher Flourescent Lamp plus hung type holder/ballast | 78 | pcs
103 | LED Bulb 9 Watts or Higher | 54 | pcs
104 | LEDTube Light 4 ft length 9 Watts or Higher | 18
105 | Lighting Swith Plate and Cover 3 gang | 52 | sets
106 | Masonite 36"x80" Honeycomb Steel Door | 21 | sets
107 | Masonite Model # 87292 Internet # 100013778 Store SKU # 378571 36 in. x 80 in. 6-Panel Unfinished Fir Front Door Slab | 17 | pcs
108 | Metal Sales 14"x10.5' Galvalume Universal Ridge Cap | 34 | pcs
109 | Metal Sales 14"x10.5' Galvalume Universal Ridge Flashing | 48 | pcs
110 | Meter Base, 100A, 2P, 3-Wire, Single Phase, Cutler Hammer, Zinc Chromate Coated, 10.88"H x 8"W x 3.5"D Model URS101BCH | 4 | set
111 | NEMA-1 Panel Board, 100AF, 2P, 3W, 120/240 V, with plug-in type 60A Main Circuit Breaker | 6 | set
112 | Patching Compound | 70 | gals
113 | Phenolic Plywood 1/2x4'x8' | 358 | pcs
114 | Premix/4 lbs/150 ft coverage Vinyl Tiles grout | 93 | gals
115 | Prepainted Roofing .4mm thick x3ft x14ft L stancor Jacinto steel or equivalent | 40 | pcs |  | Bldg. 2-4
116 | Prepainted Roofing .4mm thickx3 ftx17ft L stancor Jacinto steel or equivalent | 136 | pcs
117 | Prepainted Roofing .4mm thickx3 ftx18ft L stancor Jacinto steel or equivalent | 65 | pcs
118 | Prepainted Roofing .4mm thickx3 ftx21ft L stancor Jacinto steel or equivalent | 50 | pcs
119 | PVC pipe strap/3/4 in oatey 3/4 in galv steel hanger strap 10 ft Hot Dip Galvanized | 210 | pcs
120 | PVC Pipe White PPR 1/2" SCH 40 For Water Line | 24 | pcs
121 | PVC Pipe White PPR 1/2" SCH 40 For Water Line Coupling | 16 | pcs
122 | PVC Pipe White PPR 1/2" SCH 40 For Water Line Elbow | 16 | pcs
123 | PVC Pipe White PPR 1/2" SCH 40 For Water Line Plug | 12 | pcs
124 | PVC Pipe White PPR 1/2" SCH 40 For Water Line Tee with Threaded on One end | 16 | pcs
125 | PVC Pipe White PPR 1/2" SCH 40 For Water Line Union Patente | 8 | pcs
126 | PVC solvent cement or glue 32 oz can | 10 | cans
127 | Quick Dry Enamel Dark Brown | 48 | gals
128 | Quick Dry Enamel Flat White | 187 | gals
129 | Quikrete Concrete Mix 1101 Type-S 4000 psi 80 lbs | 18552 | bags
130 | Quikrete Finish Coat Stucco 1201, 80 lbs bag | 2930 | bags
131 | Quikrete Mason Mix 1136, 80 lbs | 2995 | bags
132 | Quikrete Scratch and Base Coat Stucco 1139, 80 lbs bag | 2930 | bags
133 | Roofing Paint Elastomeric Water Base | 144 | gals
134 | Rubberized Electrical Tape | 80 | rolls
135 | Sandpaper # 400 | 350 | pcs
136 | Sandpaper # 100 | 350 | pcs
137 | Sandpaper # 200 | 350 | pcs
138 | Schlage Cylindrical Lockset U.S. made | 24 | pcs
139 | Schlage Model # FB350 PLY 605 Internet # 100030796 Store SKU # 418604 Plymouth Double Cylinder Bright Brass Knob Combo Pack Double Barrels | 40 | pcs
140 | Solvent for Laminates | 8 | gals
141 | Strong Simpsons tie Z-MAX Galvanized 18-Gauge Hurricane Tie/ or two fold Ga 25/24 g.i plane wrap around Purlins to TC or Rafter | 2315 | pcs
142 | Strong Simpsons Z-MAX Galvanized 18-Gauge Hurricane Tie/ or two fold Ga 25/24 g.i plane wrap around member to TC and BC | 810 | pcs
143 | TAFCO Windows 2ft x 4ft Jalousie Window Aluminum Mechanism in a 2"x6" Wooden Frame | 99 | pcs
144 | TAFCO Windows 2ft x 4ft Jalousie Window Aluminum Mechanism in a 2"x8" Wooden Frame | 48 | pcs
145 | Teflon Tape Roll | 16 | rolls
146 | Tile Adhesive Heavy Duty - 50lbs | 200 | bags
147 | Utility Box 2"x4" PVC | 170 | pcs
148 | Wall Latex Paint Flat Light Beige | 127 | gals
149 | Wall Latex Paint Flat White | 187 | gals
150 | Water Closet Complete set 4 Liters Flush Tank or Dual Flash | 6 | sets
151 | Paint Roller 9" | 12 | pcs
152 | Paint roller cover | 12 | pcs
153 | Roller Kits | 12 | pcs
154 | Handy Paint Tray | 12 | pcs
155 | Paint Brush 4" | 12 | pcs
156 | Paint Brush 2" | 12 | pcs
157 | Paint Brush 1" | 12 | pcs
158 | Mini roller | 12 | pcs
159 | Masking tape 3M 1" | 24 | pcs
160 | Masking tape 3M 2" | 24 | pcs
161 | Masking Paper general purpose | 24 | pcs
162 | Putty Knives 4" | 12 | pcs |  | Bldg. 2-4/23 Classroom Floor plan (Site Development Plan Sheet 5)
163 | Putty Knives 2" | 12 | pcs